## interconnectors
investment_number | investment_name | from_full | from_country | from_lattitude | from_longitude | to_full | to_country | to_lattitude | to_Longitude | total_route_length_(km) | estimated_CAPEX_(MEUR) | estimated_OPEX_(MEUR) | total_(MEUR)
934 | Nautilus: 2nd interco UK - BE | Leiston (UK) | UK | 52.2103 | 1.5737 | TBD (BE) (zeebruge assumed) | BE | 51.3234 | 3.2073 | 180 | 900 | 8 | 908
998 | Viking Link DKW-GB, TYNDP ID 167.998 | Revsing (DKW) | DK | 55.7277 | 9.2056 | Bicker Fen (GB) | UK | 53.1567 | -0.27668 | 770 | 1655 | 16 | 1671
1255 | Interconnector GB-NL | TBD (assumed Leiston) | UK | 52.2103 | 1.5737 | TBD (assumed maasvlakte) | NL | 51.9981 | 4.0368 | 210 | 850 | 6 | 856
1383 | GridLink | Kingsnorth (UK) | UK | 51.1194 | 0.86339 | Warande (Gravelines, France) | FR | 50.985 | 2.1272 | 156 | 906 | 23.9 | 929.9
1628 | NeuConnect Interconnector | Grain West 400kV Substation | UK | 51.484 | 0.72192 | Fedderwarden 380kV Substation | DE | 53.6704 | 7.8462 | 700 | 1600 | 32.5 | 1632.5
1505 | Interconnection DKw to Power Link Island | "Endrup, DKw" | DK | 55.6142 | 8.729 | Power Link Island DKw | EN_ISLE | 55.3407 | 3.9544 | 328 | 1310 | 4.3 | 1314.3
1506 | Interconnection NL Maasvlakte to Power Link Island | Maasvlakte 380 kV | NL | 51.9981 | 4.0368 | Power Link Island NL1 | EN_ISLE | 55.3407 | 3.9544 | 360 | 1375 | 4.4 | 1379.4
1507 | Interconnection NL Eemshaven to Power Link Island | Eemshaven 380 kV | NL | 53.3056 | 6.7473 | Power Link Island NL2 | EN_ISLE | 55.3407 | 3.9544 | 290 | 1233 | 4.2 | 1237.2
1508 | Interconnection DE (area of Brunsbüttel) to Power Link Island | German substation located in the area of Brunsbüttel (north of the Elbe) | DE | 53.9326 | 9.1323 | Power Link Island DE1 | EN_ISLE | 55.3407 | 3.9544 | 390 | 1639 | 5.3 | 1644.3
1509 | Interconnection DE (area of Oldenburg) to Power Link Island | German substation located in the area of Oldenburg | DE | 53.2168 | 8.1811 | Power Link Island DE2 | EN_ISLE | 55.3407 | 3.9544 | 400 | 1661 | 5.3 | 1666.3
1511 | Interconnection DE (area of Krümmel) to Power Link Island | German substation located in the area of Krümmel | DE | 53.4992 | 10.3742 | Power Link Island DE3 | EN_ISLE | 55.3407 | 3.9544 | 490 | 1860 | 5.6 | 1865.6
1708 | Converter stations and Subsea cables | Norwich Main | UK | 52.6158 | 1.2716 | Revsing | DK | 55.7277 | 9.2056 | 640 | 1151 | 28 | 1179
1706 | Converter Stations & Subsea Cabling | Kemsley | UK | 51.3643 | 0.73556 | Zeebrugge | BE | 51.3234 | 3.2073 | 230 | 746 | 28 | 774
987 | France-Alderney-Britain | Menuel (FR) | FR | 49.7004 | -1.6363 | Exeter (GB) | UK | 50.796 | -3.5433 | 220 | 870 | 7.6 | 877.6
810 | France Ireland Interconnector | Knockraha (IE) | IE | 51.9898 | -8.3283 | La Martyre (FR) | FR | 48.7579 | -4.0004 | 500 | 930 | 8.4 | 938.4
1707 | Converter stations and Subsea Cabling | corrignham | UK | 51.5244 | 0.46168 | emden | DE | 53.3637 | 7.1955 | 610 | 1260 | 23 | 1283
1677 | LirIC | NI Kilroot 275kV (TBC) | UK | 54.8129 | -5.7506 | GB Hunterston 400kV (TBC) | UK | 55.7638 | -4.898 | 133 | 446 | 9.93 | 455.93
424 | Norway - Great Britain | Kvilldal (NO) | NO | 59.5156 | 6.6379 | Blyth (GB) | UK | 55.1435 | -1.5099 | 720 | 1658.6 | 23.2 | 1681.8
142 | Norway - Germany HVDC | Tonstad (NO) | NO | 58.6628 | 6.717 | Wilster (DE) | DE | 53.9625 | 9.3716 | 623 | 1850 | 15 | 1865
1385 | Greenlink | Great Island | IE | 52.3811 | -7.0177 | Pembroke | UK | 51.9249 | -4.8482 | 195 | 396 | 8 | 404
1382 | NorthConnect | Sima | NO | 60.4993 | 7.1447 | Peterhead | UK | 57.9697 | -1.7423 | 665 | 1675 | 10 | 1685
995 | Hansa PowerBridge I | Hurva (SE4) | SE | 55.9178 | 13.4495 | Guestrow (DE) | DE | 53.9406 | 12.212 | 300 | 660 | 1 | 661

## owpps
investment_number | investment_name | location_lattitude | location_longitude | estimated_CAPEX_(MEUR) | estimated_OPEX_(MEUR) | total_(MEUR)
1625 | MOG II: connection of up to 2 GW additional offshore wind Belgium | 51.4837 | 2.7731 | 1100 | 17 | 1117
1504 | Power Link Island | 55.3407 | 3.9544 | 2222 | 11 | 2233
| Netherlands 4GW | 53.0536 | 4.1033
| German 4GW | 54.3461 | 5.524